## Slide 1
IBM Bob Hackathon 2025 • Track: AI • Team: 4 bytes
GridGuard AI
Power Grid Intelligence & Maintenance Command Center
Predicting transformer failures 3–7 days in advance with multi-sensor SCADA telemetry, real-time meteorological modeling, and algorithmic crew dispatch — for Gujarat's SLDC transmission grid.
🌐 gridguard-app.vercel.app
Notes: Title slide. GridGuard AI is a full-stack transmission grid intelligence operating system built for IBM Bob Hackathon 2025. Live at gridguard-app.vercel.app.

## Slide 2
01 THE PROBLEM
Grid Operators Are Flying Blind
⚡ Unplanned transformer failures cost $2M–$5M per incident in equipment, lost revenue, and regulatory fines — yet 73% of failures are detectable 3–7 days in advance with proper telemetry analysis.
🌩️ Regional SLDC dispatchers in Gujarat manage 400kV–66kV corridors spanning Ahmedabad, Gandhinagar, Vadodara and Sanand — with no unified spatial telemetry, weather correlation, or automated crew routing.
👷 Field maintenance crews are dispatched via radio calls and spreadsheets. Critical assets like Transformer T-104 (serving 18,400 customers) can sit at 87% failure risk for hours before action is taken.
Notes: The core pain: grid operators lack a unified system that fuses SCADA telemetry, live weather, and crew availability into a single decision-support platform. T-104 in Ahmedabad West is a real example seeded in our demo — 91°C winding temp, 4.8 mm/s vibration, Poor oil quality.

## Slide 3
02 THE SOLUTION
GridGuard AI — Five Core Capabilities
🔬 1. Multi-Sensor Failure Prediction Engine
Fuses winding temperature, vibration, DGA oil quality, partial discharge, and load % into a weighted risk score. Assets at >80% risk are escalated to P1-Critical with a 3–7 day failure window prediction and plain-English explanation.
🌩️ 2. Live Meteorological Hazard Portal
Open-Meteo API feeds 4 Gujarat weather anchor regions. Interactive storm scenario presets (Extreme Heatwave, Monsoon Downpour, Severe Squall) ripple through all 12 grid assets in real time, adjusting failure risks instantly.
🚐 3. Algorithmic Crew Dispatch
Haversine proximity routing across 21 field units with strict availability guards. Nearest Available crew is computed on-demand and dispatched with ETA. Cross-tab BroadcastChannel sync delivers the dispatch order to the Employee terminal instantly.
📡 4. Multi-Channel Emergency Broadcasting
Firebase Cloud Messaging (FCM topic: gridguard-outages), Web Push API, and WhatsApp/SMS deep links send outage alerts to registered critical contacts — hospitals, industrial feeders, residential districts — with a single click.
Notes: Two more capabilities: (5) RBAC with Admin and Employee roles. The Employee terminal shows live work orders, dispatch chimes, and restricted read-only access to SCADA data. The Admin has full simulation, dispatch, and broadcast authority.

## Slide 4
03 RISK ENGINE
Multi-Sensor Risk Physics — How the AI Works
Combined Risk = 0.40 × Sensor + 0.25 × Weather + 0.20 × History + 0.15 × Criticality
SENSOR (40%)
• Winding Temp °C → linear from 60–110°C (35%)
• Vibration mm/s → linear 1–8 mm/s (30%)
• DGA Oil Quality → 4-level ordinal (25%)
• Load % → step-change at 90% overload (10%)
WEATHER (25%)
• Wind Speed km/h → linear 0–100 (35%)
• Rain Probability % → direct passthrough (35%)
• Lightning Risk → 4-level ordinal (30%)
HISTORY (20%)
• Pre-seeded per-asset fleet reliability baseline
P1 Critical ≥ 80% → Emergency inspection within 12h
P2 High ≥ 60% → Maintenance within 48h
P3 Moderate ≥ 40% → Increase polling; re-test DGA oil
P4 Routine < 40% → Standard weekly cycle
Notes: The model is deterministic and explainable — every risk score produces a plain-English reasons[] array. Asset T-104 scores 87%: 91°C winding temp (18% above nominal), 4.8 mm/s vibration, Poor oil quality, severe storm front, and BHEL 2011-class historical failures.

## Slide 5
04 IBM BOB INTEGRATION
IBM Bob Was Load-Bearing — Not Optional
🏗️ Full-Stack Architecture Scaffolding
Bob designed the unified React 19 + TypeScript + Vite SPA architecture — GridContext state bus, AuthContext RBAC engine, WeatherService async integration, and FCM serverless function — across multiple iterative task sessions.
🔐 Security Hardening (8 Critical Fixes)
Bob identified and fixed RSA key exposure, plaintext password storage, BroadcastChannel injection vulnerabilities, CORS wildcard, and user enumeration. Implemented PBKDF2-SHA-256 (210k iterations) with timing-safe comparison and session TTL.
🧪 105 Automated Tests
Bob authored 71 pure unit tests for the risk engine (all formula edge cases) and 34 React Testing Library integration tests for GridContext — mocked weather service, stubbed BroadcastChannel, tested lockout state machines.
🗺️ Zero-Debt Iterative Refactoring
Bob maintained zero TypeScript compiler errors (tsc --noEmit) across every iteration. Geospatial Leaflet integration, SVG SCADA charts, real-time sensor telemetry timelines, and the 21-step demo tour were all built with Bob.
Notes: IBM Bob was not just a code assistant — it was the architect, security auditor, and QA engineer. Every major subsystem was designed, implemented, and tested collaboratively through Bob task sessions.

## Slide 6
05 DEMO WALKTHROUGH
21-Step Live Demo Tour
Step 1 — Dashboard
Land on the live map. T-104 pulsing red at 87% risk, Crew 08 staged at S-17. Summary KPIs: 2 Critical assets, 15 Available crews, Grid Health 71%.
Step 2 — AI Prediction Engine
Select T-104. Observe the 4-factor breakdown. Drag Temperature slider to 98°C — risk jumps from 87% to 95%. The reasons[] explainability text updates instantly.
Step 3 — Weather Simulation
Trigger 'Extreme Heatwave' preset. All 12 assets recalculate. TL-400A jumps to Critical. Asset risk map updates in real time via recalculateAssetWithWeather().
Step 4 — Crew Dispatch
Assign Crew 04 to T-104. BroadcastChannel fires. Switch to Employee tab — 440Hz chime plays, work order banner appears instantly. Open side-by-side to show real-time sync.
Step 5 — Outage Broadcast
Fire FCM notification to gridguard-outages topic. Show FCM routing transparency panel. Demonstrate Employee login (EMP-04 / EMP-04_Sharma) read-only restriction.
Notes: The full demo is guided by a 21-step DemoTourBar component at the top of the page. Judges can click through each step or follow the live demo at gridguard-app.vercel.app.

## Slide 7
06 ARCHITECTURE
Technical Architecture
FRONTEND
React 19 + TypeScript + Vite
Leaflet / MapTiler Geospatial
Vanilla CSS Design Tokens
Lucide React Icons
STATE BUS
GridContext (assets, crews,
weather, sim, copilot)
AuthContext (RBAC, PBKDF2,
lockout, TTL)
BroadcastChannel sync
localStorage event bus
EXTERNAL SERVICES
Open-Meteo REST API
MapTiler Cloud Tiles
Firebase Cloud Messaging
Web Push / Service Worker
WhatsApp/SMS Deep Links
SECURITY STACK
• PBKDF2-SHA-256 (210k iter) — Web Crypto API
• 5-attempt / 30s lockout • 8-hour session TTL
• BroadcastChannel schema validation + regex guards
• FCM CORS origin allowlist • Env-var-only credentials
• 105 automated tests • 0 TS compiler errors
Notes: Single-page React SPA. No backend database — state is seeded in TypeScript data files for the demo, with live Open-Meteo and FCM calls to real external services. The FCM endpoint is a Node.js serverless function on Vercel.

## Slide 8
07 IMPACT & SCALE
Business Impact & Scaling Path
$2M–$5M
Avoided per catastrophic
transformer failure event
(equipment + outage revenue loss)
3–7 Days
Advance failure warning
window — enough time to
schedule emergency maintenance
250,000+
Downstream customers protected
across 12 monitored assets in
Gujarat's 400kV–66kV corridors
Scaling to Every Regional SLDC in India
• POSOCO / NLDC integration path via IEC 61850 / SCADA IEC-104 protocol adapters
• Configurable asset registry supports any 400kV–11kV fleet with no code changes
• Firebase FCM topic partitioning maps to individual state DISCOMs
• Multi-language support (Gujarati, Hindi) planned for next iteration
• Estimated national deployment: 35 SLDCs, 8,000+ monitored assets
Notes: Gujarat alone has ~6,000 MW of industrial load and multiple 400kV inter-state lines. Each SLDC faces the same problem: fragmented SCADA consoles, no weather-risk correlation, and manual crew dispatch. GridGuard AI's architecture is stateless and schema-driven — swapping out the 12-asset data file for a 500-asset file requires zero code changes.

## Slide 9
IBM Bob Hackathon 2025 • Track: AI • Team: 4 bytes • Lead: Shaan Dabhi
Try It Live — Right Now
gridguard-app.vercel.app
Admin login: admin / GridGuard@2024
Employee login: EMP-04 / EMP-04_Sharma
Click 'Hackathon Demo Flow' button in the header to start the guided 21-step tour
Rubric coverage: ✓ Technical (25) ✓ Innovation (25) ✓ Problem Depth (15) ✓ Working Demo (15) ✓ Bob Integration (10) ✓ Documentation (10)
Built entirely with IBM Bob IDE — from architecture to security audit to 105 automated tests.
Notes: Closing slide. The demo is fully live at the URL. Admin credentials are intentionally visible here for judges. The 21-step tour covers every judging criterion in sequence.